## Sheet1
OrganizationID | ProjectID | ActivityType | ActivityMediaName | SampleCollectionEquipmentName | CharacteristicName | ResultUnit | ResultStatusID | StatisticalBaseCode | ResultValueType | ResultTimeBasis | ActivityID | ActivityStartDate | ActivityEndDate | MonitoringLocationID | ResultValue | ResultCommentText | AnalysisStartDate | AnalysisEndDate
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 10.1495 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 05/14/2019 | 05/15/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 11.0064 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 05/15/2019 | 05/16/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 12.6117 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 05/16/2019 | 05/17/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 13.3083 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 05/17/2019 | 05/18/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 14.0215 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 05/18/2019 | 05/19/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 15.5785 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 05/19/2019 | 05/20/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 17.1799 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 05/20/2019 | 05/21/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 16.6055 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 05/21/2019 | 05/22/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 15.8591 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 05/22/2019 | 05/23/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 15.6713 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 05/23/2019 | 05/24/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 16.1034 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 05/24/2019 | 05/25/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 15.7599 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 05/25/2019 | 05/26/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 16.6993 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 05/26/2019 | 05/27/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 16.1566 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 05/27/2019 | 05/28/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 14.0819 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 05/28/2019 | 05/29/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 16.7828 | Comment: None ¦ Data Flags: P=22 X=0 F=0 S=2 | 05/29/2019 | 05/30/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 16.6754 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 05/30/2019 | 05/31/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 17.2766 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 05/31/2019 | 06/01/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 17.7072 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/01/2019 | 06/02/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 18.2117 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/02/2019 | 06/03/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 17.2196 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/03/2019 | 06/04/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 15.8476 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/04/2019 | 06/05/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 16.712 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/05/2019 | 06/06/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 18.9017 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/06/2019 | 06/07/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 18.618 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/07/2019 | 06/08/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 18.6052 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/08/2019 | 06/09/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 17.7388 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/09/2019 | 06/10/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 16.4275 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/10/2019 | 06/11/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 18.7015 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/11/2019 | 06/12/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 18.4208 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/12/2019 | 06/13/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 16.788 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/13/2019 | 06/14/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 17.2316 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/14/2019 | 06/15/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 17.1944 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/15/2019 | 06/16/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 17.8809 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/16/2019 | 06/17/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 18.416 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/17/2019 | 06/18/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 18.291 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/18/2019 | 06/19/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 19.2452 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/19/2019 | 06/20/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 19.0282 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/20/2019 | 06/21/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 18.7884 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/21/2019 | 06/22/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 18.4883 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/22/2019 | 06/23/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 18.635 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/23/2019 | 06/24/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 18.745 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/24/2019 | 06/25/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 19.0322 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/25/2019 | 06/26/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 20.1545 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/26/2019 | 06/27/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 20.7915 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/27/2019 | 06/28/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 20.6795 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/28/2019 | 06/29/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 20.8558 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/29/2019 | 06/30/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 20.0623 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/30/2019 | 07/01/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 19.9622 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/01/2019 | 07/02/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 20.129 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/02/2019 | 07/03/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 20.7365 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/03/2019 | 07/04/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 20.7342 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/04/2019 | 07/05/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 20.6727 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/05/2019 | 07/06/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 21.7673 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/06/2019 | 07/07/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 21.9935 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/07/2019 | 07/08/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 20.3699 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/08/2019 | 07/09/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 19.7872 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/09/2019 | 07/10/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 19.5989 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/10/2019 | 07/11/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 20.4775 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/11/2019 | 07/12/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 20.9974 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/12/2019 | 07/13/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 19.903 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/13/2019 | 07/14/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 20.0252 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/14/2019 | 07/15/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 19.9237 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/15/2019 | 07/16/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 19.2618 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/16/2019 | 07/17/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 20.6642 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/17/2019 | 07/18/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 20.3507 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/18/2019 | 07/19/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 20.6112 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/19/2019 | 07/20/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 21.933 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/20/2019 | 07/21/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 22.35 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/21/2019 | 07/22/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 21.1346 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/22/2019 | 07/23/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 22.9157 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/23/2019 | 07/24/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 22.7623 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/24/2019 | 07/25/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 21.1073 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/25/2019 | 07/26/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 20.288 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/26/2019 | 07/27/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 20.386 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/27/2019 | 07/28/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 20.584 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/28/2019 | 07/29/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 20.9403 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/29/2019 | 07/30/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 20.9059 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/30/2019 | 07/31/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 20.5745 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/31/2019 | 08/01/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 19.6142 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/01/2019 | 08/02/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 19.0898 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/02/2019 | 08/03/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 19.428 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/03/2019 | 08/04/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 19.7509 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/04/2019 | 08/05/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 18.7141 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/05/2019 | 08/06/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 18.633 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/06/2019 | 08/07/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 19.4496 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/07/2019 | 08/08/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 20.4936 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/08/2019 | 08/09/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 19.2911 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/09/2019 | 08/10/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 17.949 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/10/2019 | 08/11/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 16.7745 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/11/2019 | 08/12/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 17.0976 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/12/2019 | 08/13/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 17.9493 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/13/2019 | 08/14/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 18.5278 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/14/2019 | 08/15/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 18.6469 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/15/2019 | 08/16/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 18.7162 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/16/2019 | 08/17/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 19.5776 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/17/2019 | 08/18/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 21.123 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/18/2019 | 08/19/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 22.038 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/19/2019 | 08/20/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 21.7045 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/20/2019 | 08/21/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 21.1378 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/21/2019 | 08/22/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 21.4026 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/22/2019 | 08/23/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 20.1387 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/23/2019 | 08/24/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 17.6389 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/24/2019 | 08/25/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 17.0521 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/25/2019 | 08/26/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 15.9067 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/26/2019 | 08/27/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 15.7696 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/27/2019 | 08/28/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 16.7414 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/28/2019 | 08/29/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 17.6181 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/29/2019 | 08/30/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 16.6352 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/30/2019 | 08/31/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 17.062 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/31/2019 | 09/01/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 15.9091 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 09/01/2019 | 09/02/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 16.3724 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 09/02/2019 | 09/03/2019
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | Deg C | Final | Mean | Calculated | 1 Day | 10777314_HOBO_14740_Quaker_Brook_Spring_2019_Deployment_090419@1330 | 05/14/2019 | 09/03/2019 | 14740 | 18.3395 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 09/03/2019 | 09/04/2019