## Sheet1
OrganizationID | ProjectID | ActivityType | ActivityMediaName | SampleCollectionEquipmentName | CharacteristicName | ResultUnit | ResultStatusID | StatisticalBaseCode | ResultValueType | ResultTimeBasis | ActivityID | ActivityStartDate | ActivityEndDate | MonitoringLocationID | ResultValue | ResultCommentText | AnalysisStartDate | AnalysisEndDate
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 10.8751 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 04/22/2022 | 04/23/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 11.0923 | Comment: None ¦ Data Flags: P=23 X=0 F=0 S=1 | 04/23/2022 | 04/24/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 12.1795 | Comment: None ¦ Data Flags: P=23 X=0 F=0 S=1 | 04/24/2022 | 04/25/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 11.9449 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 04/25/2022 | 04/26/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 11.8233 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 04/26/2022 | 04/27/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 11.534 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 04/27/2022 | 04/28/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 10.4548 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 04/28/2022 | 04/29/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 9.8777 | Comment: None ¦ Data Flags: P=22 X=0 F=0 S=2 | 04/29/2022 | 04/30/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 10.4651 | Comment: None ¦ Data Flags: P=20 X=0 F=0 S=4 | 04/30/2022 | 05/01/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 11.799 | Comment: None ¦ Data Flags: P=21 X=0 F=0 S=3 | 05/01/2022 | 05/02/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 11.8627 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 05/02/2022 | 05/03/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 11.8729 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 05/03/2022 | 05/04/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 11.8298 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 05/04/2022 | 05/05/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 13.4584 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 05/05/2022 | 05/06/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 12.9104 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 05/06/2022 | 05/07/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 11.5919 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 05/07/2022 | 05/08/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 10.7632 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 05/08/2022 | 05/09/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 11.2992 | Comment: None ¦ Data Flags: P=21 X=0 F=0 S=3 | 05/09/2022 | 05/10/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 12.2023 | Comment: None ¦ Data Flags: P=21 X=0 F=0 S=3 | 05/10/2022 | 05/11/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 13.1782 | Comment: None ¦ Data Flags: P=23 X=0 F=0 S=1 | 05/11/2022 | 05/12/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 14.9651 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 05/12/2022 | 05/13/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 16.7502 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 05/13/2022 | 05/14/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 17.5546 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 05/14/2022 | 05/15/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 17.9211 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 05/15/2022 | 05/16/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 18.6835 | Comment: None ¦ Data Flags: P=23 X=0 F=1 S=0 | 05/16/2022 | 05/17/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 18.4188 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 05/17/2022 | 05/18/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 16.8623 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 05/18/2022 | 05/19/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 15.8004 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 05/19/2022 | 05/20/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 16.2051 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 05/20/2022 | 05/21/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 18.2661 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 05/21/2022 | 05/22/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 19.945 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 05/22/2022 | 05/23/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 19.1531 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 05/23/2022 | 05/24/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 17.7281 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 05/24/2022 | 05/25/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 16.6319 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 05/25/2022 | 05/26/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 16.2396 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 05/26/2022 | 05/27/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 17.3476 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 05/27/2022 | 05/28/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 17.8143 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 05/28/2022 | 05/29/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 18.5665 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 05/29/2022 | 05/30/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 18.866 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 05/30/2022 | 05/31/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 20.3507 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 05/31/2022 | 06/01/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 18.971 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/01/2022 | 06/02/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 18.3426 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/02/2022 | 06/03/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 19.2325 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/03/2022 | 06/04/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 18.4881 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/04/2022 | 06/05/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 16.1952 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/05/2022 | 06/06/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 15.8802 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/06/2022 | 06/07/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 16.031 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/07/2022 | 06/08/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 17.5493 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/08/2022 | 06/09/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 19.5601 | Comment: None ¦ Data Flags: P=23 X=0 F=0 S=1 | 06/09/2022 | 06/10/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 19.3286 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/10/2022 | 06/11/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 18.4912 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/11/2022 | 06/12/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 17.4535 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/12/2022 | 06/13/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 18.7956 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/13/2022 | 06/14/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 18.4019 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/14/2022 | 06/15/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 18.1402 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/15/2022 | 06/16/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 17.9382 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/16/2022 | 06/17/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 18.8491 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/17/2022 | 06/18/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 17.3404 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/18/2022 | 06/19/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 15.3653 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/19/2022 | 06/20/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 15.3643 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/20/2022 | 06/21/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 15.9551 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/21/2022 | 06/22/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 16.1591 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/22/2022 | 06/23/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 16.3235 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/23/2022 | 06/24/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 17.4034 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/24/2022 | 06/25/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 18.736 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/25/2022 | 06/26/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 19.5247 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/26/2022 | 06/27/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 19.1065 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/27/2022 | 06/28/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 17.7528 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/28/2022 | 06/29/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 17.6564 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/29/2022 | 06/30/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 18.8976 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/30/2022 | 07/01/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 19.6525 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/01/2022 | 07/02/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 20.7672 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/02/2022 | 07/03/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 19.9979 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/03/2022 | 07/04/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 18.6101 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/04/2022 | 07/05/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 18.8677 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/05/2022 | 07/06/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 20.1446 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/06/2022 | 07/07/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 19.2493 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/07/2022 | 07/08/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 19.078 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/08/2022 | 07/09/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 19.0293 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/09/2022 | 07/10/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 17.2864 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/10/2022 | 07/11/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 17.5035 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/11/2022 | 07/12/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 18.7431 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/12/2022 | 07/13/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 19.6676 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/13/2022 | 07/14/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 19.4506 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/14/2022 | 07/15/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 18.4683 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/15/2022 | 07/16/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 17.9522 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/16/2022 | 07/17/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 18.9402 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/17/2022 | 07/18/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 19.3948 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/18/2022 | 07/19/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 20.3107 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/19/2022 | 07/20/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 20.6125 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/20/2022 | 07/21/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 21.06 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/21/2022 | 07/22/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 21.3199 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/22/2022 | 07/23/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 20.8511 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/23/2022 | 07/24/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 20.8859 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/24/2022 | 07/25/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 20.7906 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/25/2022 | 07/26/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 19.7817 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/26/2022 | 07/27/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 18.3822 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/27/2022 | 07/28/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 19.3317 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/28/2022 | 07/29/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 20.1596 | Comment: None ¦ Data Flags: P=23 X=0 F=0 S=1 | 07/29/2022 | 07/30/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 20.0345 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/30/2022 | 07/31/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 18.6964 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/31/2022 | 08/01/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 19.2998 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/01/2022 | 08/02/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 19.5678 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/02/2022 | 08/03/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 19.7165 | Comment: None ¦ Data Flags: P=22 X=0 F=0 S=2 | 08/03/2022 | 08/04/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 19.8615 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/04/2022 | 08/05/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 20.7728 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/05/2022 | 08/06/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 21.0872 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/06/2022 | 08/07/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 21.4908 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/07/2022 | 08/08/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 21.6696 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/08/2022 | 08/09/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 22.1943 | Comment: None ¦ Data Flags: P=23 X=0 F=0 S=1 | 08/09/2022 | 08/10/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 21.395 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/10/2022 | 08/11/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 20.1608 | Comment: None ¦ Data Flags: P=23 X=0 F=0 S=1 | 08/11/2022 | 08/12/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 19.3067 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/12/2022 | 08/13/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 17.1243 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/13/2022 | 08/14/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 16.9114 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/14/2022 | 08/15/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 17.1904 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/15/2022 | 08/16/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 17.4088 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/16/2022 | 08/17/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 17.3466 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/17/2022 | 08/18/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 17.0053 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/18/2022 | 08/19/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 17.2228 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/19/2022 | 08/20/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 18.1592 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/20/2022 | 08/21/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 18.4783 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/21/2022 | 08/22/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 18.6704 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/22/2022 | 08/23/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 19.0322 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/23/2022 | 08/24/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 18.7627 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/24/2022 | 08/25/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 18.8667 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/25/2022 | 08/26/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 18.6981 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/26/2022 | 08/27/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 19.0541 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/27/2022 | 08/28/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 18.6863 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/28/2022 | 08/29/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 19.4385 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/29/2022 | 08/30/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 20.1625 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/30/2022 | 08/31/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 19.6328 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/31/2022 | 09/01/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 17.4348 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 09/01/2022 | 09/02/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 16.1754 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 09/02/2022 | 09/03/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 16.2675 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 09/03/2022 | 09/04/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 17.8143 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 09/04/2022 | 09/05/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 18.6694 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 09/05/2022 | 09/06/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 19.1134 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 09/06/2022 | 09/07/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 18.5516 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 09/07/2022 | 09/08/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 17.6062 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 09/08/2022 | 09/09/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 16.3465 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 09/09/2022 | 09/10/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 16.1058 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 09/10/2022 | 09/11/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 16.5392 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 09/11/2022 | 09/12/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 17.2405 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 09/12/2022 | 09/13/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 18.3139 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 09/13/2022 | 09/14/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 17.276 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 09/14/2022 | 09/15/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 15.5007 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 09/15/2022 | 09/16/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 13.4041 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 09/16/2022 | 09/17/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 14.3634 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 09/17/2022 | 09/18/2022
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10777318_HOBO_14740_Quaker_Brook_Spring_2022_Deployment_091922@1409 | 04/22/2022 | 09/18/2022 | 14740 | 15.2917 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 09/18/2022 | 09/19/2022