## Sheet1
OrganizationID | ProjectID | ActivityType | ActivityMediaName | SampleCollectionEquipmentName | CharacteristicName | ResultUnit | ResultStatusID | StatisticalBaseCode | ResultValueType | ResultTimeBasis | ActivityID | ActivityStartDate | ActivityEndDate | MonitoringLocationID | ResultValue | ResultCommentText | AnalysisStartDate | AnalysisEndDate
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 15.7085 | Comment: None ¦ Data Flags: P=20 X=0 F=0 S=4 | 05/09/2018 | 05/10/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 15.674 | Comment: None ¦ Data Flags: P=22 X=0 F=0 S=2 | 05/10/2018 | 05/11/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 15.1134 | Comment: None ¦ Data Flags: P=23 X=0 F=0 S=1 | 05/11/2018 | 05/12/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 12.1345 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 05/12/2018 | 05/13/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 11.3899 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 05/13/2018 | 05/14/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 13.0783 | Comment: None ¦ Data Flags: P=23 X=0 F=0 S=1 | 05/14/2018 | 05/15/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 16.4226 | Comment: None ¦ Data Flags: P=21 X=0 F=1 S=2 | 05/15/2018 | 05/16/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 15.5646 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 05/16/2018 | 05/17/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 15.6429 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 05/17/2018 | 05/18/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 15.7871 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 05/18/2018 | 05/19/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 12.8273 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 05/19/2018 | 05/20/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 14.9217 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 05/20/2018 | 05/21/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 16.5882 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 05/21/2018 | 05/22/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 15.0121 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 05/22/2018 | 05/23/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 15.9825 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 05/23/2018 | 05/24/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 16.5356 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 05/24/2018 | 05/25/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 16.9426 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 05/25/2018 | 05/26/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 18.1083 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 05/26/2018 | 05/27/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 16.6849 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 05/27/2018 | 05/28/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 14.5483 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 05/28/2018 | 05/29/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 17.2705 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 05/29/2018 | 05/30/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 18.4912 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 05/30/2018 | 05/31/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 16.5481 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 05/31/2018 | 06/01/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 17.3792 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/01/2018 | 06/02/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 18.7857 | Comment: None ¦ Data Flags: P=23 X=0 F=0 S=1 | 06/02/2018 | 06/03/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 17.962 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/03/2018 | 06/04/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 14.9921 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/04/2018 | 06/05/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 15.0928 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/05/2018 | 06/06/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 14.6145 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/06/2018 | 06/07/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 14.8065 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/07/2018 | 06/08/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 16.0298 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/08/2018 | 06/09/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 17.0992 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/09/2018 | 06/10/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 16.0843 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/10/2018 | 06/11/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 15.8748 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/11/2018 | 06/12/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 15.09 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/12/2018 | 06/13/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 15.2418 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/13/2018 | 06/14/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 16.968 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/14/2018 | 06/15/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 15.8102 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/15/2018 | 06/16/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 15.5951 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/16/2018 | 06/17/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 17.092 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/17/2018 | 06/18/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 18.6212 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/18/2018 | 06/19/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 20.1062 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/19/2018 | 06/20/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 18.0094 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/20/2018 | 06/21/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 19.1029 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/21/2018 | 06/22/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 17.9313 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/22/2018 | 06/23/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 16.2334 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/23/2018 | 06/24/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 17.1513 | Comment: None ¦ Data Flags: P=23 X=0 F=1 S=0 | 06/24/2018 | 06/25/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 18.3623 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/25/2018 | 06/26/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 16.4233 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/26/2018 | 06/27/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 16.5023 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/27/2018 | 06/28/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 18.614 | Comment: None ¦ Data Flags: P=23 X=0 F=1 S=0 | 06/28/2018 | 06/29/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 20.3117 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/29/2018 | 06/30/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 20.7033 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 06/30/2018 | 07/01/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 21.3972 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/01/2018 | 07/02/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 22.3268 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/02/2018 | 07/03/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 22.4551 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/03/2018 | 07/04/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 22.7709 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/04/2018 | 07/05/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 22.6523 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/05/2018 | 07/06/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 22.1582 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/06/2018 | 07/07/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 18.8539 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/07/2018 | 07/08/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 18.2215 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/08/2018 | 07/09/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 18.762 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/09/2018 | 07/10/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 19.7202 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/10/2018 | 07/11/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 20.5228 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/11/2018 | 07/12/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 19.0611 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/12/2018 | 07/13/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 18.8432 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/13/2018 | 07/14/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 19.5058 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/14/2018 | 07/15/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 20.9531 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/15/2018 | 07/16/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 21.5687 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/16/2018 | 07/17/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 21.7198 | Comment: None ¦ Data Flags: P=22 X=0 F=0 S=2 | 07/17/2018 | 07/18/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 20.8983 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/18/2018 | 07/19/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 19.081 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/19/2018 | 07/20/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 18.8421 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/20/2018 | 07/21/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 18.5169 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/21/2018 | 07/22/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 20.0322 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/22/2018 | 07/23/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 21.7481 | Comment: None ¦ Data Flags: P=23 X=0 F=0 S=1 | 07/23/2018 | 07/24/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 22.3912 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/24/2018 | 07/25/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 22.1779 | Comment: None ¦ Data Flags: P=23 X=0 F=0 S=1 | 07/25/2018 | 07/26/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 22.5873 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/26/2018 | 07/27/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 22.064 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/27/2018 | 07/28/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 21.6004 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/28/2018 | 07/29/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 21.4169 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/29/2018 | 07/30/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 20.3125 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/30/2018 | 07/31/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 20.4243 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 07/31/2018 | 08/01/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 21.076 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/01/2018 | 08/02/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 22.2674 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/02/2018 | 08/03/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 22.5278 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/03/2018 | 08/04/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 22.4277 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/04/2018 | 08/05/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 22.5392 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/05/2018 | 08/06/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 22.5175 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/06/2018 | 08/07/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 22.7888 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/07/2018 | 08/08/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 23.1348 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/08/2018 | 08/09/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 23.7208 | Comment: None ¦ Data Flags: P=21 X=0 F=0 S=3 | 08/09/2018 | 08/10/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 22.5723 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/10/2018 | 08/11/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 21.4923 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/11/2018 | 08/12/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 21.2867 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/12/2018 | 08/13/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 20.9931 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/13/2018 | 08/14/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 21.6865 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/14/2018 | 08/15/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 21.663 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/15/2018 | 08/16/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 21.889 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/16/2018 | 08/17/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 22.1888 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/17/2018 | 08/18/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 22.281 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/18/2018 | 08/19/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 20.9814 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/19/2018 | 08/20/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 20.1137 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/20/2018 | 08/21/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 20.0178 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/21/2018 | 08/22/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 20.8423 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/22/2018 | 08/23/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 19.8103 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/23/2018 | 08/24/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 18.6607 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/24/2018 | 08/25/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 19.0689 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/25/2018 | 08/26/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 18.7529 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/26/2018 | 08/27/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 20.1442 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/27/2018 | 08/28/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 21.5761 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/28/2018 | 08/29/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 22.2033 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/29/2018 | 08/30/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 22.052 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/30/2018 | 08/31/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 20.2041 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 08/31/2018 | 09/01/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 19.268 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 09/01/2018 | 09/02/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 19.2762 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 09/02/2018 | 09/03/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 20.9498 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 09/03/2018 | 09/04/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 21.6976 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 09/04/2018 | 09/05/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 21.4028 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 09/05/2018 | 09/06/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 22.1528 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 09/06/2018 | 09/07/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 20.6541 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 09/07/2018 | 09/08/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 18.4544 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 09/08/2018 | 09/09/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 15.849 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 09/09/2018 | 09/10/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 15.0909 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 09/10/2018 | 09/11/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 16.6935 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 09/11/2018 | 09/12/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 18.8062 | Comment: None ¦ Data Flags: P=23 X=0 F=0 S=1 | 09/12/2018 | 09/13/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 19.3434 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 09/13/2018 | 09/14/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 19.4375 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 09/14/2018 | 09/15/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 19.1611 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 09/15/2018 | 09/16/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 19.3 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 09/16/2018 | 09/17/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 19.4049 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 09/17/2018 | 09/18/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 20.1991 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 09/18/2018 | 09/19/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 19.7865 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 09/19/2018 | 09/20/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 18.7974 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 09/20/2018 | 09/21/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 18.193 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 09/21/2018 | 09/22/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 18.0383 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 09/22/2018 | 09/23/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 15.8043 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 09/23/2018 | 09/24/2018
CT_DEP01_WQX | HOBOtemperature | FieldMsr/Obs | Water | Probe/Sensor | Temperature, water | deg C | Final | Mean | Calculated | 1 Day | 10944786_HOBO_14800_Steele_Brook_Spring_2018_Deployment_092518@1048 | 05/09/2018 | 09/24/2018 | 14800 | 14.4819 | Comment: None ¦ Data Flags: P=24 X=0 F=0 S=0 | 09/24/2018 | 09/25/2018